[image: image1.png]‘/)Cleveland



[image: image1.png]

MIXER KETTLES


Kettle Placement

· Level

· Centered on hoist rail

· All legs bolted to floor

· Gear box properly supported

· Proper clearance

· Pasta basket and batch bucket clearances

· Floor drains and poor paths


Electrical Requirements

· Voltage

· Phase

· Amp draw

· Wire Size

· Check motor rotation

Water requirements

1. Hot and cold water supply (Potable)

· Line size

· Maximum water pressure

· Line strainers

· Pressure regulator

· Water quality

2. Chilled Water ( if applicable )   

· Line sizes (in and out)

· Locate and inspect line strainer

· Check for leaks


Steam Requirements or Gas
· Line sizes 

· Steam pressure or gas
· Check safety valve operation

· Check for leaks

· Type of gas


Air Requirements
· Line size

· Pressures

· Check lubricator

· Check for leaks

TUMBLE CHILLER

Electrical Requirements

· Voltage

· Phase

· Amp draw

· Wire Size

· Check motor rotation

Water Requirements

Hot, Cold, and Chill water supplies 

· Line size

· Maximum water pressure

· Line strainers

· Check for leaks
Drain Requirements

· Line size 

Air Requirements

· Line size

· Pressures

· Check lubricator

· Check for leaks

Reuse Tank

· Inspect mounting 

· Over flow

Chiller Operational Check
· Door lock operation

· Controller operation

· Cooling water supply temperature

· Cooling water Flow supply 

· Cooling time

· 40° light

· Oscillation mode 

· Reuse mode

· Clean cycle operation 
ICE BUILDER & ICE BUILDER CONTROL PACKAGE

Electrical Requirements


· Voltage

· Phase

· Amp draw

· Wire Size

· Check pump motor rotation

Water Requirements

· Cold water supply 


· Line sizes

· Line strainers

· Water pressure

· Chill and return lines

· Water quality

Air Pump

· Air line size

· Belt tension

· Check filters and relief valve

Thickness Controls

· Adjust to proper thickness

· Check wiring at thickness control panel

· Check wiring at ice water control panel

Drain Requirements

· Line size

METERING FILL STATION


Air Requirements

· Line size

· Air Pressure

· Air Quality

· Check for leaks

Clipper properly secured

· Check Clip Rail mounting 
· Check clip and cut off timing

· Check all safety devices
Operational Check 

· Check volume adjustments 

· Check all safety devises 

· Check all connection points

· Check lubricator level and operation
· Check wheel locks

· Make operators aware of all hazard warnings

COOK TANK


Electrical Requirements

· Voltage

· Phase

· Amp draw

· Wire Size

· Check motor rotation

Water Requirements

· Hot and cold water supply (Potable)

· Line Size

· Chill Water (In and Out)

· Water Pressure

· Check for leaks

Drain Requirements

· Line Size

Steam Requirements

· Line sizes 

· Steam pressure

· Steam usage

· Check safety valve operation

· Check for leaks

  Operational Check 

· Water levels
· Heat up times

· Cool down times

· Meat probe 
· Controller operation
· Drain time

· Lid tension

CLIPPER VAC & CLIPPER



Electrical Requirements

· Line sizes 

· Phase

· Amp. draw

Air Requirements

· Line size

· Pressures

· Check lubricator

· Check for leaks

Clipper Mounting 
· Clipper properly mounted
· Clip rail properly mounted
· Check Lubricators

Operational Check

· Vacuum Pump

· Clipper properly adjusted

AIR COMPRESSOR & AIR DRYER


Electrical Requirements 

· Line sizes 

· Amp. draw

· Wire size

Plumbing Requirements

· Line size should not be smaller then compressor outlet.

· Piping should be sloped to accessible drain point

· Outlets should be taken from the top of the main line so moisture will not enter the outlet

· Installed regulator, gage, and Collector.

Lubrication

· Check oil valve

Mounting

· Level

· Rubber pads for vibration (recommended)

· Make sure bolted securely before operating

Drain

· Manual drain valve or automatic

CONDENSING UNITS AIR & WATER COOLED

Electrical Requirements

· Voltage

· Phase

· Amp draw

· Wire Size

· Check motor rotation

Piping

· Size

· “P” Trap for riser that exceeds 8ft.

· If water cooled, piping must be protected from freezing

· Check for leaks

· 175 psig

Operational Check 
· Compressor rotation

· Expansion valves adjusted

· Oil level

· Correct Refrigerant and properly charged   


CHAIN HOIST

Electrical Requirements

· Voltage

· Phase

· Amp draw

· Wire Size

· Check motor rotation

Mounting

· Be sure hoist and rail are secure before operating

· Centered over equipment

· Hoist reel properly installed and wired

Operational Check 

· Up and Down
· Right and Left

· Make sure pasta and cook tank baskets clear equipment 


CONVEYOR

Electrical Requirements

· Voltage

· Phase

· Amp draw

· Wire Size

· Check motor rotation

Mounting

· Be sure conveyor and landing are secure before operation

Belt Alignment

· Make sure belt travels freely (adjust accordingly)


Glycol Heat Exchange Package
Electrical Requirements

· Voltage

· Phase

· Amp draw

· Wire Size

· Check motor rotation

· Control wires

Piping

· Line Sizes
· Piping material

· Insulated

· Bypassed correctly 
· Drain size

· Back Flush  

Glycol 

· Glycol Type 

· Glycol Volume

· Check for leaks

Operation  
· Check timer settings

· Check switch settings

· Temperature set point

· Glycol temperature 

PASTA KETTLE

Steam Requirements

· Line sizes 

· Steam pressure

· Check safety valve operation

· Check for steam leaks

Water Requirements (fill, cooling and injection)

· Line size

· Water pressure

· Over flow drain size

Air Requirements

· Line size

· Air pressure


GAS FIRED STEAM BOILER

Steam Requirements

· Voltage

· Amp. draw

· Wire Size

· Phase

· Check motor rotation

Water Requirements

· Line size

· Water pressure

· Hot or cold

· Line strainer

· Regulator

· Water quality

· Check for leaks

Gas Requirements

· Line size

· Gas Pressure


Steam Piping

· Line sizes (outlet and return)


Drain requirements

· Line size


Turbo Jet Chiller


Electrical Requirements

· Voltage

· Phase

· Amp draw

· Wire Size

· Check motor rotations
Water Requirements

· Hot and cold water supply (Potable)

· Line Size

· Chill Water (In and Out) GPM
· Water Pressure

· Check for leaks

Drain Requirements

· Line Size

Steam Requirements

· Line sizes 

· Steam pressure

· Steam usage

· Check safety valve operation

· Check for leaks

Operational Checks

· Cool down times
· Heat up times
· Water levels

· Timer operation 

· Chart recorder operation

· Meat probe operation

Jib Hoist

· Secured
· Operation

· Boom adjustment 

Tumble Chiller Cook Tank
Electrical Requirements

· Voltage

· Phase

· Amp draw

· Wire Size

· Check motor rotation

Plumbing requirements

· Steam line sizes

· Steam pressure 

· Cold potable water line size

· Chill water line sizes

· Cooling Water supply - GPM

· Water pressure
· Line strainers

· Check for leaks
· Drain Line size 
Unit Operational Check
· Water levels 

· Controller operation

· Cooling water supply temperature

· Cooling water Flow supply 

· Cooling time

· Heat up times

· Drain times

· 40° light

· Lid hinging 

· Reuse mode

· Clean cycle operation 

· Drum rotation and stop location

· Check drum lid latch adjustments

Carrier Chiller Unit

Electrical Requirements

· Voltage

· Phase

· Amp draw

· Wire Size

· Properly Grounded

· Circuit Protection

Glycol Piping

· Size

· If water cooled, piping must be protected from freezing

· Check for leaks

Operational Check 
· Compressor rotation

· Oil level

· Check temperature set points

· All glycol valves are open 

· All air has been purged from the plumbing lines

· Glycol circulation pump must be running before start up

· All thermistors and flow switches installed properly


Model no._______________


Serial no.________________





Comments:





Model no._______________


Serial no.________________





Comments:





Model no._________________


Serial no.__________________





Comments:





Model no._________________


Serial no.__________________





Comments:





Model no._________________


Serial no.__________________





Comments:





Model no._________________


Serial no.__________________





Comments:








Model no._________________


Serial no.__________________


Model no._________________


Serial no.__________________





Comments:





Model no._________________


Serial no.__________________





Comments:








Model no._________________


Serial no.__________________





Comments:








Model no._________________


Serial no.__________________





Comments:








Model no._________________


Serial no.__________________





Comments:








Model no.__________________


Serial no.__________________





Comments:








Model no.__________________


Serial no.__________________





Comments:








Model no._________________


Serial no.__________________





Comments:





Model no._________________


Serial no.__________________





Comments:





Model no._________________


Serial no.__________________





Comments:













