## Everpure
EverPure Filters
Model | EV Part Number | GPM | GPD | Everpure List Price AQ | Everpure less 50% | CR List Price | CR Cost
MRS100BL | 9797-73 | 0.069 | 100 | 2150 | 1075
MRS225BL | 9970-76 | 0.156 | 225 | 2216 | 1108 |  | 709.12
MRS350BL | 9970-20 | 0.273 | 393.75 | 2462 | 1231
MRS600HE | 9970-38 | 0.469 | 675 | 4813 | 2406.5
RO40
RO80
9797-21 | 9797-21 | NA | NA | 1025 | 512.5
9797-50CT | 9797-50CT | NA | NA | 722 | 361
CWT06 | NA | NA | NA | 1540 | 770
|  |  |  | CR List | CR less 50%
9797-21 |  |  |  | 1025 | 512.5 | 512.5 | 298.49
9797-50CT |  |  |  | 1120 | 560 | 560 | 218.64
CWT06 |  |  |  | 1540 | 770 | 770 | 328.04
BL | Adj Blend Valve
CC | Calcite Feeder
blank?
How long before replacing
Dealer disc from list. |  |  |  |  | 461
oem .322
dist .35
dist sells list -50%

## Steamers
WATER USEAGE AND FILTERS FOR STEAMERS
|  | MAXIMUM FLOW RATE * |  |  | EVERPURE FILTER TYPE
[5 empty] | GOOD | BETTER | BEST
MODEL | INTIAL FILL AT START UP (Gallons) | MAX GAL./MIN* | MAX GAL./HOUR* | MAX GAL./DAY (8 Hour Day)* | KLEANSTEAM MODEL | CLARIS MODEL | RO FILTER CLEVELAND - EVERPURE RO MODEL | EVERPURE RO FLOW RATES | STORAGE TANK MODEL (For RO Models)
STEAMCHEF SERIES
22CET3.1 - Energy Star | 1.1 | 0.066667 | 4 | 32 | 9797-50CT |  | MRS225BL-(EV9970-76) | .156 gpm/225 gpd
22CET6.1 - Energy Star | 1.1 | 0.066667 | 4 | 32 | 9797-50CT |  | MRS225BL-(EV9970-76) | .156 gpm/225 gpd
22CGT3.1 - Energy Star | 1.1 | 0.066667 | 4 | 32 | 9797-50CT |  | MRS225BL-(EV9970-76) | .156 gpm/225 gpd
22CGT6.1 - Energy Star | 1.1 | 0.066667 | 4 | 32 | 9797-50CT |  | MRS225BL-(EV9970-76) | .156 gpm/225 gpd
STEAMCRAFT-GEMINI SERIES
21CET8 | 2.8 | 0.057 | 3.42 | 27.36 | 9797-50CT |  | MRS100BL-(EV9970-73) | .078 gpm/100 gpd | Romate40 (11.9 Gal.)
21CET16 | 3.8 | 0.113 | 6.78 | 54.24 | 9797-50CT |  | MRS225BL-(EV9970-76) | .156 gpm/225 gpd | Romate40 (11.9 Gal.)
21CGA5 | 4 | 0.113 | 6.78 | 54.24 | 9797-50CT |  | MRS225BL-(EV9970-76) | .156 gpm/225 gpd | Romate40 (11.9 Gal.)
6-10 PAN MODELS
24CGA6.2S | 3.3 | 0.126 | 7.6 | 60.8 | 9797-21 | CWT06 | MRS350BL-(EV9970-20) | .273 gpm/393.75 gpd | Romate80 (25.6 Gal.)
24CGA6.2SES Energy Star | 3.3 | 0.096667 | 5.8 | 46.4 | 9797-21 | CWT06 | MRS225BL-(EV9970-76) | .156 gpm/225 gpd | Romate80 (25.6 Gal.)
24CGA10 | 7.9 | 0.185 | 11.1 | 88.8 | 9797-21 | CWT06 | MRS350BL-(EV9970-20) | .273 gpm/393.75 gpd | Romate80 (25.6 Gal.)
24CGA10.2 | 3.3 | 0.194 | 11.64 | 93.12 | 9797-21 | CWT06 | MRS350BL-(EV9970-20) | .273 gpm/393.75 gpd | Romate80 (25.6 Gal.)
24CGA10.2ES Energy Star | 3.3 | 0.13167 | 7.9 | 63.2 | 9797-21 | CWT06 | MRS225BL-(EV9970-76) | .156 gpm/225 gpd | Romate80 (25.6 Gal.)
24CEA10 | 3.8 | 0.113 | 13.56 | 108.48 | 9797-21 | CWT06 | MRS225BL-(EV9970-76) | .156 gpm/225 gpd | Romate80 (25.6 Gal.)
24CGP10 | 16 | 0.36 | 21.6 | 172.8 | 9797-21 | CWT06 | MRS350BL-(EV9970-20) | .273 gpm/393.75 gpd | Romate80 (25.6 Gal.)
CLASSIC CONVECTION SERIES
200,000 BTU Boilers (24CGM200, 42CKGM200) | 8 | 0.25 | 15 | 120 | 9797-21 | CWT06 | MRS350BL-(EV9970-20) | .156 gpm/225 gpd | Romate80 (25.6 Gal.)
300,000 BTU Boilers (36CGM300, 42CKGM300, 36CGM16300) | 12 | 0.36 | 21.6 | 172.8 | 9797-21 | CWT06 | MRS350BL-(EV9970-20) | .273 gpm/393.75 gpd | Romate80 (25.6 Gal.)
24 kW Boilers (24CEM24) | 9 | 0.16 | 9.6 | 76.8 | 9797-21 | CWT06 | MRS350BL-(EV9970-20) | .156 gpm/225 gpd | Romate80 (25.6 Gal.)
36kW Boilers (24CEM36) | 9 | 0.24 | 14.4 | 115.2 | 9797-21 | CWT06 | MRS350BL-(EV9970-20) | .273 gpm/393.75 gpd | Romate80 (25.6 Gal.)
48 kW Boilers (24CEM48) | 9 | 0.3 | 18 | 144 | 9797-21 | CWT06 | MRS350BL-(EV9970-20) | .273 gpm/393.75 gpd | Romate80 (25.6 Gal.)
Steam Coil Boilers (24CSM, 36CSM16) | 7.2 | 0.15 | 9 | 72 | 9797-21 | CWT06 | MRS350BL-(EV9970-20) | .156 gpm/225 gpd | Romate80 (25.6 Gal.)
CLASSIC PRESSURE SERIES
24 kW Boilers PEM24 | 9 | 0.16 | 9.6 | 76.8 | 9797-21 | CWT06 | MRS350BL-(EV9970-20) | .273 gpm/393.75 gpd | Romate80 (25.6 Gal.)
36kW Boilers PEM36 | 9 | 0.24 | 14.4 | 115.2 | 9797-21 | CWT06 | MRS350BL-(EV9970-20) | .273 gpm/393.75 gpd | Romate80 (25.6 Gal.)
48 kW Boilers PEM48 | 9 | 0.3 | 18 | 144 | 9797-21 | CWT06 | MRS350BL-(EV9970-20) | .273 gpm/393.75 gpd | Romate80 (25.6 Gal.)
* Max Flow Rate is when steamer is cooking continuously. Idle mode uses significantly less water.
Guidelines for Recommending a Blended RO Filter.
Get a water quality test. Contact Cleveland Customer Service to order a SmartWorks Test Kit, Part Number 115036.
Compare water test against recommended Water Quality Settings below.
For Blended RO Filters, incoming water pressure must be greater than 35PSI.
Only Blended RO Filters will eliminate Chlorides.
NEW WATER QUALITY REQUIREMENTS (Generators)
TDS: 50-125 ppm
Hardness: 50 - 125 mm (3 - 6 gpg)
pH value: 7.0 - 8.5
CL (Chloride): max 25 ppm
Cl2 (free chlorine): max 0.1 ppm
SiO42 (sulfate): max 150 ppm
Fe (iron): max 0.1 ppm
SiO2 (silica): max 13 ppm
NH2Cl (monochloramine): max 0.1 ppm
Total Alkalinity 50 - 100 ppm
Water Pressure 35 - 80 PSI
Temperature: max 104oF.